| Office/Workplace Safety Inspection Checklist |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Unit/Activity: |  |  | Building: |  |  |  |  | Room: |
| Deficiency Noted | Location |  |  | Corrected |  |  | Date Corrected or Reason Not Corrected |  |
|  |  |  |  | Yes | No |  |  |  |
| Section I: Walking/Working Surfaces |  |  |  |  |  |  |  |  |
| a. Slippery or uneven surfaces |  |  |  |  |  |  |  |  |
| b. Torn or loose floor covering, loose objects on walking surface, or protruding floor outlets. |  |  |  |  |  |  |  |  |
| c. Floor is rough, splintered or has protrusions. |  |  |  |  |  |  |  |  |
| d. Spilled liquids, (water, coffee, oil, etc.) |  |  |  |  |  |  |  |  |
| e. Illumination inadequate, glare, etc. |  |  |  |  |  |  |  |  |
| f. Stair tread defective or missing, stairs unequal in height or width. |  |  |  |  |  |  |  |  |
| g. Handrails missing or improperly positioned. |  |  |  |  |  |  |  |  |
| h. Throw rugs with non-slip rubber backing not used. |  |  |  |  |  |  |  |  |
| Section II: Overhead Hazards |  |  |  |  |  |  |  |  |
| a. Unsecured, unstable file cabinets, bookcases, shelves. |  |  |  |  |  |  |  |  |
| b. Overhead building conditions, ceiling fixture fans, etc. |  |  |  |  |  |  |  |  |
| c. Posted floor load capacity exceeded. |  |  |  |  |  |  |  |  |
| d. Materials or objects on cabinets or window sills present poor housekeeping and improper storage. |  |  |  |  |  |  |  |  |
| Section III: Means of Egress |  |  |  |  |  |  |  |  |
| a. At least two means of egress from the building are not available. |  |  |  |  |  |  |  |  |
| b. Exits not clearly marked, or emergency lights defective. |  |  |  |  |  |  |  |  |
| c. Access doors blocked, path of escape too narrow, aisles <28”. |  |  |  |  |  |  |  |  |
| d. No dead-end corridor >50’, maximum travel distance or path to exit 200’ (without sprinkler system) or 250’ (with sprinkler system). |  |  |  |  |  |  |  |  |
| e. Furniture or other objects placed or stored blocking escape route. |  |  |  |  |  |  |  |  |
| Section IV: Furniture and Equipment |  |  |  |  |  |  |  |  |
| a. Unguarded machines or moving parts. |  |  |  |  |  |  |  |  |
| b. Defective wiring, switches, extension cords, etc., exposed energized electrical parts. |  |  |  |  |  |  |  |  |
| c. Furniture or equipment unsafe or defective (sharp edges, burrs, etc.); chair needs adjustment. |  |  |  |  |  |  |  |  |
| d. Broken or chipped glass/plastic. |  |  |  |  |  |  |  |  |
| e. Unauthorized electrical equipment, hot plates, heaters, fans, extension cords, etc. |  |  |  |  |  |  |  |  |
| f. Ladders or step stools unsafe or unavailable. |  |  |  |  |  |  |  |  |
| g. Liquids stored in or around electrical equipment. |  |  |  |  |  |  |  |  |
| h. Electrical panel doors blocked. |  |  |  |  |  |  |  |  |
| i. Electrical panels doors not properly closed or secured. |  |  |  |  |  |  |  |  |
| j. Filing cabinets not properly utilized (second drawer of four-drawer cabinets filled first) and materials not evenly distributed. |  |  |  |  |  |  |  |  |
| k. Bookcases taller than 64” not secured/anchored to the wall. |  |  |  |  |  |  |  |  |
| l. Paper cutters/guillotines improperly guarded and/or not secured when not in use. |  |  |  |  |  |  |  |  |
| Section V: Fire Prevention |  |  |  |  |  |  |  |  |
| a. Fire alarm system not tested or annual fire drills not completed. |  |  |  |  |  |  |  |  |
| b. Inadequate storage of flammables, chemicals, and waste. |  |  |  |  |  |  |  |  |
| c. Smoke detectors not installed, operational, and/or improperly tested. |  |  |  |  |  |  |  |  |
| d. Poor housekeeping. |  |  |  |  |  |  |  |  |
| e. Fire extinguishers are not the proper type, not conspicuously located, not readily accessible, improperly mounted, not visually inspected monthly, or no maintenance check performed annually. |  |  |  |  |  |  |  |  |
| e. Evidence of smoking in “NO SMOKING” area or within 50’ of common entrance/exit way. |  |  |  |  |  |  |  |  |
| Section VI: Industrial Hygiene |  |  |  |  |  |  |  |  |
| a. Sanitary facilities not maintained. |  |  |  |  |  |  |  |  |
| b. Reports of hazardous fumes, vapors, asbestos, or poor ventilation. |  |  |  |  |  |  |  |  |
| c. Noise levels exceed TWA of 85 dBA. |  |  |  |  |  |  |  |  |
| Section VII: Hazardous Materials |  |  |  |  |  |  |  |  |
| a. No MSDS for hazardous chemicals stored or in use. |  |  |  |  |  |  |  |  |
| b. Chemicals are not properly labeled. |  |  |  |  |  |  |  |  |
| c. Incompatible storage. |  |  |  |  |  |  |  |  |
| d. Hazard communication training not conducted and/or documented. |  |  |  |  |  |  |  |  |
| Section VIII: Other |  |  |  |  |  |  |  |  |
| a. Pre-accident and Emergency Response Plan out of date. |  |  |  |  |  |  |  |  |
| b. First aid kit not available and/or accessible. |  |  |  |  |  |  |  |  |
| c. Air vents unclean and/or obstructed . |  |  |  |  |  |  |  |  |
| d. Thermostats unclean and/or obstructed. |  |  |  |  |  |  |  |  |
| e. Radiators (steam heating systems) unclean and/or improperly functioning. |  |  |  |  |  |  |  |  |
| f. Evidence of pests observed. |  |  |  |  |  |  |  |  |
| g. Trash and/or recycle containers not emptied. |  |  |  |  |  |  |  |  |
| h. Safety training not conducted and/or documented. |  |  |  |  |  |  |  |  |
| Remarks |  |  |  |  |  |  |  |  |
| Inspector’s Name: |  | Position, Title or Rank/Grade: |  |  |  | Overall Rating: |  |  |